## Slide 1: Learning-Based Impedance Identification for Stability Analysis of IBR-dominated Grids
Notes: Title Slide Option #4

## Slide 2
Reviewer 1’s comments
Please clarify the privacy and threat model because federated learning alone does not guarantee privacy. (read original FedAvg paper)
The results rely on analytically generated data so please validate performance under measurement noise and EMT scan uncertainty.
Please quantify client heterogeneity and test FedAvgIm under more severe non IID distributions.
Please report communication overhead including model size number of rounds and total uplink and downlink cost to support practicality claims.
Please extend the stability validation to multiple operating points and report the stability decision consistency.
The paper uses impedance identification while the model outputs admittance so please unify the terminology for consistency.
Measurement-based data generation + noise
Try with different IBR structure
Stability sensitivity with prediction error/noise

## Slide 3
The authors should either justify this approach or, more preferably, validate the framework using measurement-based data to faithfully represent the "black-box" scenario described in the motivation.
The authors need to discuss the applicability of FedAvgIm in a realistic environment with mixed IBR structures. A discussion on this limitation is necessary to align the contribution with practical grid conditions.
The authors should clarify the purpose of this architectural split. If personalization was intended to address the heterogeneity mentioned above, it should be implemented and compared against the fully global approach.
Specifically, how sensitive is the stability criterion to small prediction errors in the phase or magnitude of Ydq near the crossover frequency?
The authors should clarify the sampling strategy for the frequency input f.
Measurement-based data generation + noise
Try with different IBR structure
Stability sensitivity with prediction error/noise
Reviewer 2’s comments

## Slide 4
A sudden step change of grid impedance with 50% increase and the following instability seems unrealistic. Please find a way to justify it or use a more realistic scenario.
Please clarify the benefits of the proposed approach compared to the parametric impedance model.
Please state if there is any methodological novelty beyond FedAvg.
What are the limitations to scale up the method with many IBRs?
Please include a comparison of communication complexity and cost, as well as a comparison of the required computational power.
Is the dataset realistic and noisy, or clean simulation results? Please state that in the manuscript.
Measurement-based data generation + noise
Try with different IBR structure
Stability sensitivity with prediction error/noise
Reviewer 3’s comments

## Slide 5
In Case 3, the local transfer learning model is pretrained only on IBR4 (100 samples), whereas the federated transfer learning model leverages data from IBR2–IBR9 (1670 samples in total). Since the pretraining data scale differs substantially between the two settings, it is unclear whether the reported performance improvement stems from the federated mechanism itself or from the larger and more diverse pretraining dataset. It would strengthen the manuscript if the authors could clarify this point or provide an additional controlled experiment where the total pretraining data size is comparable across methods.
In Case 4, the stability analysis is conducted under a single operating condition. Could the author clarify whether prediction errors might lead to a potential misinterpretation of stability?
The manuscript notes that the framework is potentially applicable to grid-forming inverters, however, could the proposed FedAvgIm framework be extended to mixed GFL–GFM systems?
Measurement-based data generation + noise
Try with different IBR structure
Stability sensitivity with prediction error/noise
Reviewer 4’s comments

## Slide 6
Are the dq admittance data estimated using the proposed method accurate enough for direct application in small-signal stability analysis? The article provides only one example. If numerical errors in the admittance lead to incorrect estimation results in practical applications, what would be the consequences? Can the confidence level of the stability prediction results be quantified?
Additionally, at the end of the first chapter, a logical overview of the remaining chapters should be provided in accordance with standard writing conventions.
Measurement-based data generation + noise
Try with different IBR structure
Stability sensitivity with prediction error/noise
Reviewer 5’s comments

## Slide 7
Summary
Measurement-based data generation + noise
Try with different IBR structure
Stability sensitivity with prediction error/noise
Prove that analytical model matches measurement-based
Compare training performance of analytical + noise, measurement noise, clean data => Doesn’t impact too much
2. Replace LCL with LC (3 GFLI with L filter only)
3. Add 2% error directly to impedance model then plot Nyquist